## Sheet1
Industry Pack Wiring in 13-BM-D |  | Alias
VME | MeasComp |  | Patch panel
DAC1_1 | USB3104:Ao1 |  | B03
DAC1_2 | USB3104:Ao2 |  | A12
DAC1_3 | USB3104:Ao3 |  | LED In 2, pneumatic controller
DAC1_4 | USB3104:Ao4 |  | LED In 1
DAC1_5 | USB3104:Ao5 |  | LED In 3
DAC1_6 | USB3104:Ao6 |  | DB9 to Schott
DAC1_7 | USB3104:Ao7 |  | Jenner cable
DAC1_8 | USB3104:Ao8 |  | LVP analog cable
IP330-1 | USB1808:Ai1 |  | A01 and V/F #3 In
IP330-2 | USB1808:Ai2 |  | NC
IP330-3 | USB1808:Ai3 |  | A11
IP330-4 | USB1808:Ai4 |  | NC
IP330-5 | USB1808:Ai5 |  | A11
IP330-16 | ? |  | B02
Unidig1Bo0 | USB3104:Bo1 |  | B04
Unidig1Bo1 | USB3104:Bo2 |  | B05
Unidig1Bo2 | USB3104:Bo3 |  | B06
Unidig1Bo6 | USB3104:Bo4 |  | A07 and SIS CTL Out 1
Unidig1Bo7 | USB3104:Bo5 |  | A08
Unidig1Bo9 | USB1808:Bo1 |  | B09
Unidig1Bo10 | USB1808:Bo2 |  | B10
Unidig1Bo11 | USB1808:Bo3 |  | B11
Unidig1Bo23 | USB1808:Bo4 |  | DB9 to Schott
Joerger-D1 | USBCTR:C1In |  | 10 MHz clock
Joerger-D2 | USBCTR:C2In |  | V/F output 4 (bottom)
Joerger-D3 | USBCTR:C3In |  | V/F output 3 (second from bottom)
Joerger-D4 | USBCTR:C4In |  | V/F output 2 (second from top)
Joerger-D5 | USBCTR:C5In |  | V/F output 1 (top)
SIS3820-C01 | USTCTR:CKLI |  | HPTXM from OMS
SIS3820-C05 | USBCTR:CLKO |  | A07
Canberra HVPS |  |  | A01 (?), B01
B12 connected to cable 183
Serial 1 |  |  | Data A04
Serial 2 |  |  | Data A02
Serial 3 |  |  | Data A06
Serial 4 |  |  | Data A03
Serial 6 |  |  | Data A06
Serial 5 |  |  | LVP RS-232
Serial 7 |  |  | Data B03
Serial 8 |  |  | Data B04
Serial 9 |  |  | XIA PFCU-4
Serial 10 |  |  | Data B06
Serial 11 |  |  | A01
XIA In 1 | USBCTR:Bo1
XIA In 2 | USBCTR:Bo2
XIA In 3 | USBCTR:Bo3
XIA In 4 | USBCTR:Bo4
XIA Out 1 | USBCTR:Bi5
XIA Out 2 | USBCTR:Bi6
XIA Out 3 | USBCTR:Bi7
XIA Out 4 | USBCTR:Bi8