## XPS Controllers
Location/function | Model | Firmware | IP name | IP address | Static/dynamic
13-ID-A/CD mono | XPS-Q8 | 1.4.6 | newport-xps5 | 10.54.160.14 | Dynamic
13-ID-A/E mono | XPS-Q8 | 1.4.6 | newport-xps13 | 10.54.160.5 | Dynamic
13-ID-C GPD (circles) | XPS-C8 | 2.7.0 | newport-xps9 | 10.54.160.41 | Dynamic
13-ID-C GPD (base) | XPS-C8 | 2.6.0 | newport-xps7 | 10.54.160.56 | Dynamic
13-ID-D DAC | XPS-C8 | 2.7.0 | newport-xps3 | 10.54.160.34 | Dynamic
13-ID-E XRM | XPS-D8 | XPS-D-N13006 | newport-xps14 | 10.54.160.210 | Dynamic | Questionable, dynamic only worked after first setting new IP static
13-ID-E XRM | XPS-C8 | 2.6.2 | newport-xps4 | 10.54.160.180 | Unknown | OFFLINE, Sept. 9, 2020
13-BM-C GPD (circles) | XPS-C8 | 2.5.1 | newport-xps8 | 10.54.160.83 | Dynamic
13-BM-C GPD (base) | XPS-C8 | 2.6.2 | newport-xps2 | 10.54.160.131 | Dynamic
13-BM-C DAC | XPS-Q8 | 1.4.6 | newport-xps11 | 10.54.160.190 | Static | Dynamic does not work
13-BM-D LVP | XPS-Q8 | 1.4.6 | newport-xps10 | 10.54.160.4 | Static | Dynamic does not work
13-BM-D DAC | XPS-D8 | XPS-D-N13006 | newport-xps15 | 10.54.160.211 | Dynamic | Questionable, dynamic only worked after first setting new IP static
Raman lab | XPS-Q8 | 1.4.6 | newport-xps12 | 10.54.160.147 | Dynamic
Spare | XPS-C8 | 2.6.2 | newport-xps6 | 10.54.160.55 | Unknown | OFFLINE, Sept. 9, 2020
Spare lift table | XPS-Q8 | 1.4.6 | newport-xps1 | 10.54.160.124 | Dynamic
Lab spare | XPS-D8 | XPS-D-N13014 | newport-xps16 | 10.54.160.71 | Dynamic

## XPS Driver Cards
XPS model | ID-A | ID-C | ID-D | BM-C GPD | BM-C DAC | BM-D | Raman | Cabinet on roof | Total in use | Total spare
XPS-DRV00 in use |  | 10 |  | 6 |  |  |  |  | 16 | 7
XPS-DRV00 spare | 2 | 2 | [5 empty] | 3
XPS-DRV01 in use | 12 | 6 | 8 | 8 | 8 | 13 | 2 |  | 57 | 7
XPS-DRV01 spare | [5 empty] | 3 |  | 4
XPS-DRV02 in use | 1 | [5 empty] | 2 |  | 3 | 1
XPS-DRV02 spare | [7 empty] | 1
XPS-DRV03 in use | 1 | [5 empty] | 2 |  | 3 | 4
XPS-DRV03 spare | [7 empty] | 4
XPS-DRVM5 in use | [8 empty] | 0 | 2
XPS-DRVM5 spare | [7 empty] | 2

## labels
Location/function | Name | IP address | Model
13-BM-D DAC | to be xps 15 | 164.54.160.211 | D8
Lab (spare) | xps1 | 164.54.160.124 | Q8
13-BM-C GPD (base) | xps2 | 164.54.160.131 | C8
13-ID-D DAC | xps3 | 164.54.160.34 | C8
13-ID-E XRM | xps4 | 164.54.160.180 | C8
13-ID-A/CD mono | xps5 | 164.54.160.14 | Q8
13-ID-C GPD (circles) | xps6 | 164.54.160.55 | C8
13-ID-C GPD (base) | xps7 | 164.54.160.56 | C8
13-BM-C GPD (circles) | xps8 | 164.54.160.83 | C8
Lab (spare) | xps9 | 164.54.160.41 | C8
13-BM-D LVP | xps10 | 164.54.160.4 | Q8
13-BM-C DAC | xps11 | 164.54.160.190 | Q8
Raman lab | xps12 | 164.54.160.147 | Q8
13-ID-A/E mono | xps13 | 164.54.160.3 | Q8
13-ID-E XRM | xps14 | 164.54.160.210 | D8
Mark's office | to be xps16 | to be newport-xps16 | D8