## Sheet1
13-ID-A
IOC directory | Computer running IOC | Command to start IOC | Devices controlled | Comments
ioc13ida_linux | corvette | start_13ida_linux | EPS, vacuum pumps and gauges, Galil motors, Keithleys, E-1608s
ioc13ida_CD_Mono_XPS | corvette | start_13idcd_mono_xps | ID-C/D mono XPS, TetrAMM, energy SNL program | Should run E-1608 for C/D mono DACs
ioc13ida_E_Mono_XPS | corvette | start_13ide_mono_xps | ID-E mono XPS, TetrAMM, energy SNL program | Should run E-1608 for E mono DACs
ioc13ida_pg1 | viper | start_13ida_pg1 | FLIR USB camera in ID-A
ioc13idb_ps1 | viper | start_13idb_ps1 | Allied Vision camera in ID-B
13-ID-C
IOC directory | Computer running IOC | Command to start IOC | Devices controlled | Comments
ioc13idc_linux | 13idc | start_13idc_linux | Galil motors, XPS motors, Measurement Computing, serial
ioc13idc_bora | corvette | start_13idc_bora | BORA hexapod | This IOC should be merged into ioc13idc_linux once it is in use
ioc13idc_pil | ??? | ??? | Pilatus 100K
ioc13idc_ps1 | epedition | Shortcut on gpd_user desktop | Allied Vision bench camera
ioc13idc_ps2 | ?? | none | Allied Vision camera
ioc13Mercury1 | expedition | Shortcut on gpd_user desktop | XIA Mercury 4
13-ID-D
IOC directory | Computer running IOC | Command to start IOC | Devices controlled | Comments
ioc13idd_linux | 13idd | start_13idd_linux | Measurement Computing | Runs devices used by both LVP and DAC
ioc13idd_LVP | 13idd | start_13idd_lvp | Galil motors, MCB4B motors, E1608s, serial | Runs devices used only by the LVP. Need to merge ioc13idd_dante1, and XPS and MCB4B motor from ioc13idd_linux to here.
ioc13idd_DAC | 13idd | start_13idd_dac | Galil motors, XPS motors, Koyo PLC, serial | Runs devices used only by the DAC. Need to merge ioc13idd_laserPLC, ioc13idd_pace5000, move XPS and Galil motors from ioc13idd_linux here.
ioc13idd_lightfield1 | nsx | ? | Princeton Instruments camera and spectrometer
ioc13idd_mirror | mercedes | Shortcut in Software on dac_user desktop | Newport Agilis mirror motors | Try to run on Linux with extender and hub?
ioc13DDIA30 | mazda6 | Shortcut on desktop for lvp_user | Parker Aires motor controller for DDIA-30 pumps | Uses private NIC on Windows because controllers lose connection on general network
ioc13idd_pg1 | maserati | Shortcut in Software on dac_user desktop | FLIR camera for upstream laser
ioc13idd_pg2 | maserati | Shortcut in Software on dac_user desktop | FLIR camera for downstream laser
ioc13idd_pg3 | mercedes | Shortcut in Software on dac_user desktop | FLIR camera for microscope
ioc13Pilatus3 | ??? | start_epics | Pilatus 3X 1M CdTe detector
iocCARSPil3Table | ??? | ??? | Lift table for Pilatus 3X 1M CdTe detector
13-ID-E
IOC directory | Computer running IOC | Command to start IOC | Devices controlled | Comments
ioc13ide_linux | 13ide | start_13ide_linux | Galil motors, Measurement Computing, serial | Should merge ioc13XRM into this IOC
ioc13XRM | corvette | start_13xrm | XPS motors, AH501 | Merge with ioc13ide_linux
ioc13ide_pg1 | ??? | ??? | ??
ioc13ide_pg2 | ??? | ??? | ??
ioc13ide_ps1 | ??? | ??? | ??
??? | ??? | ??? | XSPress3 | Should merge this IOC into ioc13ide_linux?
ioc13Eiger1 | cars4 | run_eiger500k | Eiger 500K
ioc13Eiger2 | cars4 | run_eiger1m | Eiger 1M
13-BM-A
IOC directory | Computer running IOC | Command to start IOC | Devices controlled | Comments
ioc13bma_linux | corvette | start_13bma_linux | EPS, vacuum pumps and gauges, Galil motors, Keithleys, E1608, energy SNL program
13-BM-C
IOC directory | Computer running IOC | Command to start IOC | Devices controlled | Comments
ioc13bmc_linux | 13bmc | start_13bmc_linux | Galil motors, XPS motors, Measurement Computing, serial
ioc13bmc_laser | triumph | Shortcut on desktop | Quantum and IPG lasers, Click PLC, Agilis motor controller, | Move everything except Agilis to Linux?
ioc13bmc_lightfield1 | triumph? | Shortcut on desktop | Princeton detector and spectrometer
ioc13bmc_pace5000 | triumph? | Shortcut on desktop | PACE5000 pressure controller | Move to 13bmc_linux or a new 13bmc_dac IOC?
13bmc_pil | gse-pilatus1? | start_epics | Pilatus 100K
ioc13bmc_pg1 | titan | Shortcut | Beamviewer, radiography camera
ioc13bmc_ps1 | titan | Shortcut in Start on dac_user desktop? | GPD bench camera?
ioc13bmc_ps2 | ??? | Shortcut in Start? | DAC viewer camera, change to FLIR?
ioc13Pilatus1MSi | gse-pilatus3 | start_epics | Pilatus 3S 1M Si detector
13-BM-D
IOC directory | Computer running IOC | Command to start IOC | Devices controlled | Comments
ioc13bmd_linux | 13bmd | start_13bmd_linux | Galil motors, Measurement Computing, laser PLC, serial
ioc13bmd_DAC_XPS | corvette | start_13bmd_xps_dac | DAC XPS | Move to ioc13bmd_dac, run on 13bmd, combine with PACE5000
ioc13bmd_LVP_XPS | corvette | start_13bmd_xps_lvp | LVP XPS | Move to ioc13bmd_lvp, run on 13bmd
ioc13bmd_TOMO_XPS | corvette | start_13bmd_xps_tomo | Tomo XPS | Move to ioc13bmd_tomo, run on 13bmd, combine with Aerotech
ioc13bmd_aerotech | corvette | start_13bmd_aerotech | Aerotech hexapod and rotation stage | Move to ioc13bmd_tomo, run on 13bmd, combine with XPS
ioc13Mjolnir | 13bmd | start_13Mjolnir | Mjolnir pumping cart
ioc13bmd_pace5000 | corvette | start_13bmd_pace5000 | PACE5000 pressure controller | Move to ioc13bmd_dac, run on 13bmd, combine with XPS
ioc13bmd_lightfield1 | totoise | Shortcut on desktop | Princeton detector and spectrometer
ioc13bmd_pg1 | gse-pointgrey1 | Shortcut on tomo_user desktop | FLIR camera for tomography
ioc13bmd_pg2 | gse-pointgrey1 | Shortcut on lvp_user desktop | FLIR camera for LVP
ioc13bmd_pg3 | tortoise | Shortcut on dac_user desktop | FLIR camera for DAC
ioc13Pilatus1MCdTe | ??? | start_epics | Pilatus 3S 1M CdTe detector
Gas Loading System
IOC directory | Computer running IOC | Command to start IOC | Devices controlled | Comments
ioc13GasLoading | corvette | start_13GasLoading | Galil motors, PLC, Omega, vacuum pump and gauge
ioc13GasLoading_pg1 | hummer | Shortcut on desktop for micro_user | FLIR camera
DAC Sample Preparation Laboratory IOCs
IOC directory | Computer running IOC | Command to start IOC | Devices controlled | Comments
ioc13laser | ??? | Shortcut on micro_user desktop | Motors, PLC, BNC pulse generator in DAC sample preparation lab | Replace MCB4B with XPS
Raman Laboratory IOCs
ioc13laser_ultra | ??? | Shortcut on micro_user desktop? | Newport Agilis and CONEX motors in laser ultrasonic table in Raman lab
ioc13LUAndor | ??? | Shortcut on micro_user desktop? | Andor CCD and Shamrock spectrometer in laser ultrasonic table in Raman lab
ioc13Raman2 | explorer | Shortcut on micro_user desktop? | Motors, lasers on Raman table
ioc13Raman_lightfield | explorer | Shortcut on micro_user desktop? | Princeton cameras and spectrometer on Raman table
ioc13raman_pace5000 | corvette | start_13raman_pace5000 | PACE5000 pressure controller for Raman table
ioc13Raman_pg1 | explorer | Shortcut on micro_user desktop? | FLIR camera on Raman table
ioc13Raman_pg2 | explorer | Shortcut on micro_user desktop? | FLIR camera on Raman table
ioc13Raman_PLC | corvette | start_13raman_plc | Laser interlock PLC
Hinds Laboratory IOCs
IOC directory | Computer running IOC | Command to start IOC | Devices controlled | Comments
iocHindsXray | ??? | start_epics? | Motors, serial, Measurement Computing in Hinds basement X-ray lab | Replace GeoBrick with Galil?
iocHindsXray_ps1 | ??? | Shortcut on desktop | Allied Vision Manta camera
Portable IOCs
IOC directory | Computer running IOC | Command to start IOC | Devices controlled | Comments
ioc13BeamViewer1 | Any Windows |  | FLIR beam viewer camera
ioc13BNC505 | corvette | start_13BNC505 | BNC Pulse Generator
ioc13Cryocon1 | corvette | start_13Cryocon1 | CryoconM32 cyro controller
ioc13CryoCooler1 | corvette | start_13CryoCooler1 | Cryo cooler development setup
ioc13CryoJet1 | corvette | start_13CryoJet1 | BioCARS Oxford CryoJet and level sensor
ioc13HG100 | corvette | start_13HG100 | HG100 humidity controller
ioc13Keithley1 | corvette | start_13Keithley1 | Keithley multimeter
ioc13Keithley2 | corvette | start_13Keithley2 | Keithley multimeter
ioc13Keithley3 | corvette | start_13Keithley3 | Keithley multimeter
ioc13LAE500 | corvette | start_13LAE500 | Newport LAE500 autocollimator
ioc13MCC | corvette | ??? | Newport XPS for Soller slits | Why is there no command for this?
iocMeasCompE1608_1 | corvette | start_13E1608_1 | Measurement Computing E-1608
iocMeasCompE1608_2 | corvette | start_13E1608_2 | Measurement Computing E-1608
iocMeasCompETC_1 | corvette | start_13ETC_1 | Measurement Computing E-TC
iocMeasCompETC_2 | corvette | start_13ETC_2 | Measurement Computing E-TC
iocMeasCompETC_3 | corvette | start_13ETC_3 | Measurement Computing E-TC
ioc13PECell | corvette | start_13PECell | Paris-Edinburgh cell
ioc13PHD2000 | corvette | start_13PHD2000 | Harvard PHD2000 syringe pump
ioc13SmarAct1 | corvette | start_13smaract1 | SmarAct piezo stage controller | Paul Fenter brings to 13-ID-C
ioc13SpareTable | corvette | start_13spare_table | Spare 5-axis table in storage
ioc13Syringe1 | corvette | start_13Syringe1 | Cole-Palmer syringe pump
ioc13Syringe2 | corvette | start_13Syringe2 | Cole-Palmer syringe pump
ioc13Tabor | corvette | start_13Tabor | Tabor 8024 arbitrary waveform generator | Belongs to ChemMat, we have used
ioc13test | corvette | N.A. | IOC for short-term testing
ioc13xps_test | corvette | N.A. | IOC for testing XPS units
Portable Detector IOCs
ioc13PE1 | gse-pe1 | Shortcut on desktop | Perkin Elmer flat panel | May not be used again
ioc13Pilatus300K | ??? | start_epics | Pilatus 3X 300K-W
ioc13Saturn1 | Any Windows | N.A. | XIA Saturn spectrometer