## GSE MC Orders
GSECARS Measurement Computing
In inventory
Date | PO | Part No. | Items | Qty | Unit Cost
2022-04-11 | G824502 | E-TC | Thermocouple measurement device, Ethernet-based, with 8 channels, 24-bit resolution, 4 S/s/ch sample rate, and 8 digital I/O | 3 | 559 | Yes
2021-06-21 | G736805 | E-1608 | DAQ device, Ethernet-based, with 8 SE/4 DIFF analog inputs, 16-bit resolution, 250 kS/s sample rate, 2 analog outputs, 8 digital I/O, and 1 counter input | 1 | 550 | Yes
2021-01-12 | G690604 | USB-TEMP-AI | Temperature and voltage measurement device with 8 channels (supports 4 sensor types including; thermocouple, RTD, thermistor, semiconductor), 24-bit resolution, 2 S/s/ch sample rate, 8 digital I/O, and 1 counter input | 1 | 795 | Yes
2019-10-03 | G571390 | USB-2408-2AO | USB-based 24-bit, isolated, 16 SE/8 DIFF temperature and voltage measurement device with 8 digital I/O, 2 counter inputs, and 2 analog outputs | 1 | 770 | Yes
2019-09-09 | G562068 | USB-CTR08 | High-speed counter/timer device with 8 counter I/O, 4 PWM timer outputs, and 8 digital I/O | 1 | 470 | Yes
2019-02-05 | G488484 | E-1608 | Ethernet data acquisition (DAQ) device with 8 SE/4 DIFF analog inputs, 16-bit resolution, up to 250 kS/s sample rate, two 16-bit analog outputs, one 32-bit counter input, and eight digital I/O. | 4 | 525 | Yes
2018-03-02 | G383833 | E-TC | Thermocouple Ethernet Devic | 1 | 505 | Yes
2018-02-06 | G375757 | E-1608 | Ethernet data acquisition (DAQ) device with 8 SE/4 DIFF analog inputs, 16-bit resolution, up to 250 kS/s sample rate, two 16-bit analog outputs, one 32-bit counter input, and eight digital I/O. | 1 | 525 | Yes
2015-10-15 | G130516 | USB-2408-2AO | USB based 24-Bit, isolated, 16 SE/8 DIFF temperature and voltage measurement device with 8 digital I/O and 2 counter inputs | 2 | 699 | Yes
2014-05-23 | W969703 | USB-CTR08 | High-Speed Counter/Timer Device with 8 Counter I/O | 1 | 429 | Yes
2011-10-13 | W667109 | USB-1608GX-2AO | USB-1608GX-2AO16-channel, 500 kS/s device with two analog outputs, eight DIO lines, two 32-bit counter inputs, and one timer output | 1 | 799 | Yes
2011-07-19 | W637154 | USB-4303 | 10-channel, 16-bit, high-performance 9513-based counter/timer device | 1 | 349
IP | MAC | Hostname | Make | Model | SerialNumber | Building | Room | Location
10.54.160.218 | 00:80:2F:18:64:0B | gse-etc-1.cars.aps.anl.gov | Measurement Computing | E-TC |  | 434 | A004 | 13 LOM
10.54.160.48 | 00:80:2F:34:F4:7B | gse-etc-2.cars.aps.anl.gov | Measurement Computing | E-TC | 34F47B | 434 | A004 | mo
10.54.160.49 | 00:80:2F:34:F4:76 | gse-etc-3.cars.aps.anl.gov | Measurement Computing | E-TC | 34F476 | 434 | A004 | Mobile (laptop, cart, etc)
10.54.160.10 | 00:80:2F:24:53:D7 | gse-e1608-4.cars.aps.anl.gov | Measurement Computing | E-1608 |  | 434 | A001 | 434-A001
10.54.160.193 | 00:80:2F:24:53:D9 | gse-e1608-5.cars.aps.anl.gov | Measurement Computing | E-1608 |  | 434 |  | Mobile (laptop, cart, etc)
10.54.160.96 | 00:80:2F:24:53:DE | gse-e1608-2.cars.aps.anl.gov | Measurement Computing | E-1608 |  | 434 |  | Mobile (laptop, cart, etc)
10.54.160.216 | 00:80:2F:18:64:23 | gse-e1608-1.cars.aps.anl.gov | Measurement Computing | E-1608 |  | 434 |  | Mobile (laptop, cart, etc)
10.54.160.63 | 00:80:2F:24:53:E5 | gse-e1608-6.cars.aps.anl.gov | Measurement Computing | E-1608 |  | 434 | A004 | 13 LOM
10.54.160.26 | 00:80:2F:32:B2:C2 | gse-e1608-3.cars.aps.anl.gov | Measurement Computing | E-1608 |  | 434 | A004 | Mobile (laptop, cart, etc)

## Inventory
Model | Serial # or MAC | IP name | IP address | Location | Function | PO | Date
E-1608 | 00:80:2F:18:64:23 | gse-e1608-1.cars.aps.anl.gov | 10.54.160.216 | 13-BM-A | Mono piezo | G375757 | 2018-02-06
E-1608 | 00:80:2F:24:53:DE | gse-e1608-2.cars.aps.anl.gov | 10.54.160.96 | 13-ID-A | Mono piezo | G488484 | 2019-02-05
E-1608 | 00:80:2F:32:B2:C2 | gse-e1608-3.cars.aps.anl.gov | 10.54.160.26 | 13-ID-A | Mono piezo | G736805 | 2021-06-21 | Sungsik Lee borrowed 8/18/2023
E-1608 | 00:80:2F:24:53:D7 | gse-e1608-4.cars.aps.anl.gov | 10.54.160.10 | 13-ID-D | LVP electronics | G488484 | 2019-02-05
E-1608 | 00:80:2F:24:53:D9 | gse-e1608-5.cars.aps.anl.gov | 10.54.160.193 | 13-ID-D | LVP electronics | G488484 | 2019-02-05
E-1608 | 00:80:2F:24:53:E5 | gse-e1608-6.cars.aps.anl.gov | 10.54.160.63 | Mjolnir cart | Mjolnir electronics | G488484 | 2019-02-05
E-TC | 00:80:2F:18:64:0B | gse-etc-1.cars.aps.anl.gov | 10.54.160.218 | Mark's office | Portable heating | G383833 | 2018-03-02
E-TC | 00:80:2F:34:F4:7B | gse-etc-2.cars.aps.anl.gov | 10.54.160.48 | Mark's office | Portable heating | G824502 | 2022-04-11
E-TC | 00:80:2F:34:F4:76 | gse-etc-3.cars.aps.anl.gov | 10.54.160.49 | Mark's office | Portable heating | G824502 | 2022-04-11
E-TC | 00:80:2F:34:F4:79 | gse-etc-4.cars.aps.anl.gov | 10.100.160.107 | Hinds lab | Temperature control | G824502 | 2022-04-11
USB-CTR08 | 01954963 |  |  | Hinds lab | Spec counter | W969703 | 2014-05-23
USB-CTR08 | 01E538A2 |  |  | BCDA borrowed | Spare | G562068 | 2019-09-09
USB-2408-2AO | 01E74311 |  |  | Hinds lab | Temperature control | G571390 | 2019-10-03
USB-2408-2AO | 01AAA83C |  |  | 13-BM-C |  | G130516 | 2015-10-15
USB-2408-2AO | 01AAA83E |  |  | Mark's office |  | G130516 | 2015-10-15
USB-1608GX-2AO |  |  |  | Mark's office |  | W667109 | 2011-10-13
USB-TEMP-AI |  |  |  | Mark's office |  | G690604 | 2021-01-12
USB-4303 |  |  |  | Mark's office | Obsolete | W637154 | 2011-07-19