## Sheet1
Inventory of Galil Controllers at GSECARS
IP name (gse-galilN) | IP address (10.54.160.N) | MAC address (00:50:4c:38:N) | Serial # | DMC | Firmware | Amp1 | Amp2 | Type | Station | GALIL(N) | Motors | Status of Channels 5-8 | Motors affected by problem
11 | 119 | 6d2c | 27948 | 4103, Rev 11 | DMC4183 Rev 1.3k | 43020, Rev 7 | None | Servo, Pulse/Dir | BM-A | 1 | 9-16 | Bad | BMD Mono Cage Y, Xtal-Z, BM-C vertical slits
15 | 123 | 6e33 | 28211 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | BM-A | 2 | 1-8 | Bad | BM-C/D filters, Vee, Flag
16 | 125 | 6e3f | 28223 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | BM-A | 3 | 17-24 | Bad | BM-D mirror translations, old BM-B slits
6 | 115 | 6d30 | 27952 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | BM-C | 6 | 63-70 | OK
7 | 114 | 6d2e | 27950 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | BM-C | 1 | 1-8 | OK
8 | 116 | 6d2d | 27949 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | BM-C | 5 | 47-54 | OK
9 | 117 | 6d2f | 27951 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | BM-C | 4 | 25-32 | OK
12 | 120 | 6d33 | 27955 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44040, Rev 5 | 44040, Rev 5 | Direct drive | BM-C | 2 | 9-16 | Bad | ADC X, Y,Z; Beamstop Y
13 | 121 | 6d32 | 27954 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44040, Rev 5 | 44040, Rev 5 | Direct drive | BM-C | 3 | 17-24 | OK
29 | 139 | 6f97 | 28567 | 4103, Rev 11 | DMC4183 Rev 1.3k | 43140, ssr, Rev 0 | 44040, Rev 3 | Servo, Direct drive | BM-C | 7 | 71-78 | OK
19 | 128 | 6e22 | 28194 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44040, Rev 5 | 44040, Rev 5 | Direct drive | BM-D | 5 | 41-48 | OK
30 | 145 | 6e2c | 28204 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | BM-D | 6 | 57-64 | OK
31 | 146 | 6e3a | 28218 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | BM-D | 1 | 1-8 | OK
34 | 150 | 6e3c | 28220 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | BM-D | 4 | 33-40 | Bad | Sample chi, 3 unused
35 | 151 | 6e3b | 28219 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | BM-D | 2 | 17-24 | OK
47 | 164 | 6f9e | 28574 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44040, Rev 5 | 44040, Rev 5 | Direct drive | BM-D | 8 | 73-80 | Bad | YAG focus, Top laser hor, Top signal hor | Channel A works, Channel H fails
48 | 165 | 6fa8 | 28584 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | BM-D | 7 | 65-72 | Bad | Newport chi,Base Z, microscope zoom, ion chamber Z
49 | 166 | 6fa2 | 28578 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | BM-D | 3 | 25-32 | Bad | BM-D slits
5 | 69 | 5ba9 | 23465 | 4103, Rev 11 | DMC4183 Rev 1.3h | 44140, Rev 3 | 44140, Rev 3 | Direct drive | Gas loading | 1 | 1-8 | OK
17 | 126 | 6e36 | 28214 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | ID-A | 1 | 1-8 | OK
18 | 127 | 6e2f | 28207 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | ID-A | 2 | 9-16 | Bad | IDE horizontal mirror pitches
21 | 130 | 6e34 | 28212 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | ID-A | 3 | 17-24 | Bad | BPM2 X, BPM2 camera X, Y, Z
22 | 132 | 6e40 | 28224 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | ID-A | 4 | 25-32 | OK |  | Channel 5 also OK, Peter had seen problems on this channel
38 | 154 | 6e2d | 28205 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | ID-A | 8 | 73-80 | Bad | C/D vertical mirror translation
39 | 155 | 6e37 | 28215 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | ID-A | 7 | 49-56 | OK
42 | 158 | 6e31 | 28209 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | ID-A | 6 | 41-48 | OK
43 | 159 | 6e32 | 28210 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | ID-A | 5 | 33-40 | Bad | E BPM viewer, SSA viewer focus
1 | 43 | 58e0 | 22752 | 4103, Rev 11 | DMC4183 Rev 1.3h | None | None | Pulse/Dir | ID-C | 1 | 9-16 | OK
2 | 66 | 5ba3 | 23459 | 4103, Rev 11 | DMC4183 Rev 1.3h | 44040, Rev 3 | 44040, Rev 3 | Direct drive | ID-C | 3 | 1-8 | Bad | Slit position and width, up and downstream
3 | 65 | 5ba7 | 23463 | 4103, Rev 11 | DMC4183 Rev 1.3h | None | None | Pulse/Dir | ID-C | 2 | 57-64 | Bad | PE cell Y, Z CRL X,Y
4 | 67 | 5ba2 | 23458 | 4103, Rev 11 | DMC4183 Rev 1.3h | 44040, Rev 3 | 44040, Rev 3 | Direct drive | ID-C | 4 | 17-24 | Bad | Pinhole pitch and yaw
10 | 118 | 6d98 | 28056 | 4103, ser, Rev 11 | DMC4183 Rev 1.3k-SER | None | None | Pulse/Dir | ID-D | 6 | 41-48 | Bad | LVP X, Y, Z in/out
14 | 122 | 6d31 | 27953 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44040, Rev 5 | 44040, Rev 5 | Direct drive | ID-D | 7 | 49-56 | Bad | KB mirror position, pitch, bender
23 | 133 | 6e35 | 28213 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | ID-D | 4 | 25-32 | OK
36 | 152 | 6e3e | 28222 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | ID-D | 2 | 9-16 | OK
37 | 153 | 6fa4 | 28580 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | ID-D | 3 | 17-24 | OK
40 | 156 | 6e39 | 28217 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | ID-D | 8 | 65-72 | OK
41 | 157 | 6fa9 | 28585 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | ID-D | 1 | 1-8 | Bad | Pilatus Z, gear box, detector X,Z
44 | 160 | 6f9f | 28575 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44040, Rev 5 | 44040, Rev 5 | Direct drive | ID-D | 9 | 73-80 | OK
46 | 162 | 6fa0 | 28576 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | ID-D | 5 | 33-40 | Bad | LVP detector base, gimbal, DAC beam filter
24 | 134 | 6e30 | 28208 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Direct drive | ID-E | 1 | 1-8 | OK
25 | 135 | 6e21 | 28193 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44040, Rev 5 | 44040, Rev 5 | Direct drive | ID-E | 4 | 25-32 | OK
26 | 136 | 6e20 | 28192 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44040, Rev 5 | 44040, Rev 5 | Direct drive | ID-E | 5 | 33-40 | Bad | Analyser RY/RZ, SR50PP, rotary 4
27 | 137 | 6e3d | 28221 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Direct drive | ID-E | 2 | 9-16 | OK
28 | 138 | 6e38 | 28216 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Direct drive | ID-E | 3 | 17-24 | Bad | Table slits position and width
20 | 129 | 7605 | 30213 | 4103, Rev 12 | DMC4183 Rev 1.3k | 44040, Rev 5 | 44040, Rev 5 | Direct drive | Lab | 4 | 25-32 | OK
32 | 148 | 6fa5 | 28581 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | Lab | 1 | 1-8 | OK
33 | 149 | 6e2e | 28206 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Pulse/Dir | Lab | 2 | 9-16 | Bad | Test system
45 | 161 | 6fa1 | 28577 | 4103, Rev 11 | DMC4183 Rev 1.3k | 44140, Rev 5 | 44140, Rev 5 | Direct drive | Lab | 3 | 17-24 | Bad |  | Channel A works, Channel H fails
[11 empty] | Bad | 23
[11 empty] | OK | 26
[11 empty] | To test | 0