## Sheet1
Industry Pack Wiring in 13-ID-D |  | Alias
VME | MeasComp |  | Patch panel
DAC1_4 |  |  | B06 | LVP furnace control (not used, run by LVP E-1608)
DAC1_5 |  |  | B07 | LVP furnace current limit (not used, run by LVP E-1608)
DAC1_6 |  |  | B07 | LVP voltage to current mode reset. Used?
DAC2_1 | USB3104:Ao1 |  | DB A02 | Fiber illuminator | Goes into DB 9. This cable labeled DAC1
DAC2_2 | USB3104:Ao2 |  | DB A02 | Fiber illuminator | Goes into DB 9. This cable labeled DAC2
DAC2_3 | USB3104:Ao3 |  | Direct | IPG laser | Cable labeled AL A or IL B
DAC2_4 | USB3104:Ao4 |  | Direct | IPG laser | Cable labeled AL A or IL B
DAC2_5 | USB3104:Ao5 |  | A01 | Temperature control with 33V/33A power supply
DAC2_7 | USB3104:Ao6 |  | A03 | Microscope fiber illuminator
IP330-1 | USB1808:Ai1 |  | A12 | Laser heating photomultiplier
IP330-3 | USB1808:Ai2 |  | A08 | Ion chamber signal for feedback
IP330-5 |  |  | B10 | LVP heater?
Unidig1Bo0 |  |  | B12 | Unknown
Unidig1Bo1 | USB3104:Bo1 | US_IllumSplitter | A07 | DAC control
Unidig1Bo2 | USB3104:Bo2 | DS_IllumSplitter | A11 | DAC control
Unidig1Bo4 | USB3104:Bo3 | ND_Filter | A06 | DAC readback
Unidig1Bo5 | USB3104:Bo4 | IR_Mirror | A04 | DAC readback
Unidig1Bo6 | USBCTR:Bi6 | US_SpectShutter_RBV |  | XIA DB9 | Cable labeled Output 02
Unidig1Bo7 | USBCTR:Bo2 | US_SpectShutter |  | XIA DB9 | Cable labeled Input 02
Unidig1Bo8 | USBCTR:Bi5 | Photodiode_RBV |  | XIA DB9 | Cable labeled Output 01
Unidig1Bo9 | USBCTR:Bo1 | Photodiode |  | XIA DB9 | Cable labeled Input 01
Unidig1Bo10 | USBCTR:Bi8 | TableShutter_RBV |  | XIA DB9 | Cable labeled Output 04
Unidig1Bo11 | USBCTR:Bo4 | TableShutter |  | XIA DB9 | Cable labeled Input 04 Cabled TEE to C01
Unidig1Bo12 | USBCTR:Bi7 | DS_SpectShutter_RBV |  | XIA DB9 | Cable labeled Output 03
Unidig1Bo13 | USBCTR:Bo3 | DS_SpectShutter |  | XIA DB9 | Cable labeled Input 03
Unidig1Bo14 |  |  | B01 | Unknown
Unidig1Bo20 | USB3104:Bo5 | US_IllumOnOff | DB A02 | Fiber illuminator | Goes into DB 9. This cable labeled Unidig1
Unidig1Bo22 | USB3104:Bo6 | DS_IllumOnOff | DB A02 | Fiber illuminator | Goes into DB 9. This cable labeled Unidig2
Unidig2Bo4 | EDIO24_1:Bo5 | LaserShutter |  | Black pneumatic box
Unidig2Bo10 | EDIO24_1:Bo11 | XRDShutter |  | Black pneumatic box
SIS3820-D1 |  |  | NC
SIS3820-D2 |  |  | B05
SIS3820-D3 |  |  | B09
SIS3820-D4 |  |  | A05
SIS3820-D5 |  |  | A05 | TEE to SIS3820-D4
SIS3820-D6 |  |  | A10
SIS3820-D7 |  |  | A09
SIS3820-D8 |  |  |  | Joerger 10 MHz clock
SIS3820-C01 |  |  | A02
SIS3820-C03 |  |  | C02